{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["监督检验报告信息","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":25,"n_cols":14,"rows_kept":25,"merged":[[0,0,0,11],[1,0,1,13],[2,0,2,13],[3,0,3,13]],"flags":["formulas_cached_only"]}
["2024年手提式灭火器产品质量市监督抽查结果"]
["本次抽查了19家单位的20批次产品。其中，生产领域1家企业1批次，流通领域18家经销单位19批次。\n监督抽查不合格产品检出率为20%。\n依据 GB 4351.1-2005《手提式灭火器 第1部分:性能和结构要求》、GB 4066-2017《干粉灭火剂》等标准，对灭火器总质量，灭火剂充装量，20℃喷射性能，水压试验，爆破试验，超压保护装置动作压力试验，保险装置的解脱力，开启机构开启力，干粉灭火剂（第一主要组分含量）等9个项目进行了检验。\n抽查发现有4家企业的4批次产品不符合相关标准要求，不合格项目为：灭火剂充装量，20℃喷射性能，爆破试验，干粉灭火剂（第一主要组分含量）。我局已依法对不合格产品开始了后处理工作。\n具体抽查结果见附件。\n"]
["附件"]
["2024年手提式灭火器产品质量市级监督抽查结果汇总表"]
["序号","抽样领域","产品名称","受检单位名称","统一社会信用代码","标称生产者名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","抽样日期","行政区划","承检单位"]
[1,"流通领域","手提式干粉灭火器","即墨区睿栋丰安保器材经营部","92370282MA3PFEQC9F","南昌星河消防设备有限公司","2023-12/—","MFZ/ABC4","/","不合格","灭火剂充装量、20℃喷射性能、干粉灭火剂（第一主要组分含量）","2024-01-09","即墨区","青岛市产品质量检验研究院"]
[2,"流通领域","手提式干粉灭火器","莱西市飞宁物资经销商场（个体工商户）","92370285MAD6DE304A","连云港豪轩宸消防器材工程有限公司","2024-01/—","MFZ/ABC4","/","不合格","灭火剂充装量、20℃喷射性能、爆破试验、干粉灭火剂（第一主要组分含量）","2024-01-15","莱西市","青岛市产品质量检验研究院"]
[3,"流通领域","手提式水基型灭火器","李沧区江山消防器材经销处","92370213MA3E7CRJ37","山东镒安东霖防火设备有限公司","2023-12/—","MSZ/3W","/","不合格","灭火剂充装量、20℃喷射性能","2024-01-08","李沧区","青岛市产品质量检验研究院"]
[4,"流通领域","手提式干粉灭火器","胶州市华仕达五金机电经营部（个体工商户）","92370214MA3EPP8Q3N","日照星盾消防器材有限公司","2023-12/—","MFZ/ABC4型","/","不合格","灭火剂充装量、干粉灭火剂（第一主要组分含量）","2024-01-17","胶州市","青岛市产品质量检验研究院"]
[5,"生产领域","手提式水基型灭火器","青岛楼山消防器材厂有限公司","913702131638224552","/","2024-01/—","MSZ/9型","龙雹","所检项目符合标准","/","2024-01-11","李沧区","青岛市产品质量检验研究院"]
[6,"流通领域","手提式干粉灭火器","莱西市巨泉物资经销处","92370285MA3EH9HX0W","山东沂盾消防科技有限公司","2024-01/—","MFZ/ABC4","/","所检项目符合标准","/","2024-01-15","莱西市","青岛市产品质量检验研究院"]
[7,"流通领域","4KG手提式干粉灭火器","青岛平安霖商贸有限公司","91370283MA3C5A9T2X","山东风雨雪消防科技有限公司","2023-12/—","MFZ/ABC4型","吉辉","所检项目符合标准","/","2024-01-12","平度市","青岛市产品质量检验研究院"]
[8,"流通领域","4KG手提式干粉灭火器","李沧区达莱金门管件经营部","92370213MA3DLFW62G","山东龙成消防科技股份有限公司","2023-07/—","MFZ/ABC4A型","薪薪","所检项目符合标准","/","2024-01-10","李沧区","青岛市产品质量检验研究院"]
[9,"流通领域","1KG手提式干粉灭火器","即墨市消防器材厂","913702823944007787","山东龙成消防科技股份有限公司","2023-05/—","MFZ/ABC1型","薪薪","所检项目符合标准","/","2024-01-11","即墨区","青岛市产品质量检验研究院"]
[10,"流通领域","手提式干粉灭火器","青岛丰慧达工贸有限公司","91370211753784495M","连云港腾冰消防科技有限公司","2023-10/—","MFZ/ABC4","/","所检项目符合标准","/","2024-01-09","西海岸新区","青岛市产品质量检验研究院"]
[11,"流通领域","手提式干粉灭火器","青岛精诚消防器材有限公司黄岛分公司","91370220321462660R","山东国佑消防器材有限公司","2023-12/—","MFZ/ABC4","/","所检项目符合标准","/","2024-01-09","西海岸新区","青岛市产品质量检验研究院"]
[12,"流通领域","手提式干粉灭火器","城阳区海路安交通消防用品经销处","92370214MA3E59EP0X","潍坊华宝消防器材有限公司","2024-01/20240102","MFZ/ABC4-A型","绿消","所检项目符合标准","/","2024-01-08","城阳区","青岛市产品质量检验研究院"]
[13,"流通领域","手提式水基型灭火器","即墨区国安信消防器材经营部","92370282MA3TL7P1X8","山东力盾消防科技有限公司","2023-12/—","MSZ/3","中瑾","所检项目符合标准","/","2024-01-09","即墨区","青岛市产品质量检验研究院"]
[14,"流通领域","手提式二氧化碳灭火器","青岛健安交通设施有限公司","91370282MA3PHAMT2W","潍坊华宝消防器材有限公司","2023-11/202311","MT/3","绿消","所检项目符合标准","/","2024-01-09","即墨区","青岛市产品质量检验研究院"]
[15,"流通领域","手提式干粉灭火器","即墨区通起消防器材经营部","92370282MA3PL2RM78","连云港腾冰消防科技有限公司","2023-10/—","MFZ/ABC1","/","所检项目符合标准","/","2024-01-09","即墨区","青岛市产品质量检验研究院"]
[16,"流通领域","手提式干粉灭火器","城阳区四鑫通安防器材经销处","92370214MA3E6K5K8F","潍坊华宝消防器材有限公司","2023-12/20231201","MFZ/ABC3型","华潍","所检项目符合标准","/","2024-01-10","城阳区","青岛市产品质量检验研究院"]
[17,"流通领域","手提式干粉灭火器","城阳区四鑫通安防器材经销处","92370214MA3E6K5K8F","青岛楼山消防器材厂有限公司","2023-11/—","MFZ/ABC1型","龙雹","所检项目符合标准","/","2024-01-10","城阳区","青岛市产品质量检验研究院"]
[18,"流通领域","手提式二氧化碳灭火器","黄岛区卫众消防设备工程部","92370211MABYE7TF0G","徐州市淮海消防器材有限公司","2023-07/—","MT/2型","/","所检项目符合标准","/","2024-01-12","西海岸新区","青岛市产品质量检验研究院"]
[19,"流通领域","手提式干粉灭火器","青岛万友安泰消防器材有限公司","91370213595272223L","浙江超宇消防装备有限公司","2023-07/—","MFZ/ABC4","/","所检项目符合标准","/","2024-01-16","李沧区","青岛市产品质量检验研究院"]
[20,"流通领域","手提式干粉灭火器","李沧区广茂达消防器材经销处","92370213MA3EH9K93K","山东鼎兴智能装备有限公司","2022-04/—","MFZ/ABC1","DL","所检项目符合标准","/","2024-01-08","李沧区","青岛市产品质量检验研究院"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}