{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["监督检验报告信息","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":35,"n_cols":14,"rows_kept":35,"merged":[[0,0,0,11],[1,0,1,13],[2,0,2,13],[3,0,3,13]],"flags":["formulas_cached_only"]}
["2024年洁具及暖气管道用直角阀产品质量市监督抽查结果"]
["本次抽查了流通领域28家经销单位30批次产品。所检项目全部符合标准。\n依据GB/T 26712-2021 《卫生洁具及暖气管道用角阀》，按照国标、行标、地标、企标的先后顺序，从小号到大号排列所有产品）等标准，对上密封试验，密封试验，强度试验，耐腐蚀性能等4个项目进行了检验。\n具体抽查结果见附件。\n"]
["附件"]
["2024年洁具及暖气管道用直角阀产品质量市级监督抽查结果汇总表"]
["序号","抽样领域","产品名称","受检单位名称","统一社会信用代码","标称生产者名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","抽样日期","行政区划","承检单位"]
[1,"流通领域","潜水艇丽致角阀","李沧区同钧鹏家居建材店","92370213MA3RKDDQ76","柏瑞润兴（北京）科技发展有限公司","2023年5月13日/—","F007","潜水艇","所检项目符合标准","/","2024-03-08","李沧区","青岛市产品质量检验研究院"]
[2,"流通领域","冷水角阀","李沧区永建中宇建材商行","92370213MA3E63FT9G","中宇厨卫股份有限公司","2023-05-20/—","JY71075-C","中宇","所检项目符合标准","/","2024-03-08","李沧区","青岛市产品质量检验研究院"]
[3,"流通领域","潜水艇丽致角阀","李沧区同钧鹏家居建材店","92370213MA3RKDDQ76","柏瑞润兴（北京）科技发展有限公司","2023.11.22/—","F301","潜水艇","所检项目符合标准","/","2024-03-08","李沧区","青岛市产品质量检验研究院"]
[4,"流通领域","陶瓷阀芯角阀","李沧区秀茂源装饰材料店","92370213MA3F10431P","福建金鹭星水暖有限公司","2023-11/—","JLX-3A87","金鹭星","所检项目符合标准","/","2024-03-05","李沧区","青岛市产品质量检验研究院"]
[5,"流通领域","快开单热角阀","李沧区华时伦卫浴商场","92370213MA3NQKTW6B","九牧厨卫股份有限公司","2022-10-25/—","JWF-TW15","JOMOO","所检项目符合标准","/","2024-03-05","李沧区","青岛市产品质量检验研究院"]
[6,"流通领域","角阀","青岛市李沧区亮晶晶灯具电器装饰商店","92370213MA3E96RH14","福建过江龙卫浴有限公司","2023年06月23日/—","J023","/","所检项目符合标准","/","2024-03-05","李沧区","青岛市产品质量检验研究院"]
[7,"流通领域","陶瓷阀芯角阀","李沧区秀茂源装饰材料店","92370213MA3F10431P","福建金鹭星水暖有限公司","—/—","JLX-3A31","金鹭星","所检项目符合标准","/","2024-03-05","李沧区","青岛市产品质量检验研究院"]
[8,"流通领域","三角阀门","崂山区壹加壹建材总汇","92370212MA3TJEMM0E","开平市雷井水暖技术开发有限公司","2023-04-21//","0304 3010","/","所检项目符合标准","/","2024-03-11","崂山区","青岛市产品质量检验研究院"]
[9,"流通领域","三角阀","青岛市崂山区家乐日晟卫浴经营部","92370212MA3DXM4E49","浙江丰华卫浴有限公司","2023-12-28/—","JWY-TW15","丰华","所检项目符合标准","/","2024-03-11","崂山区","青岛市产品质量检验研究院"]
[10,"流通领域","潜水艇丽致角阀","城阳区天奥洁具卫浴批发部","92370214MA3E5MB10W","柏瑞润兴（北京）科技发展有限公司","2023828/—","F302","潜水艇","所检项目符合标准","/","2024-03-12","城阳区","青岛市产品质量检验研究院"]
[11,"流通领域","角阀","青岛隆裕旺建材有限公司","91370214MA3QAFGX3P","厦门优胜卫厨科技有限公司","2022-12-02/—","SPQ8-0090","/","所检项目符合标准","/","2024-03-12","城阳区","青岛市产品质量检验研究院"]
[12,"流通领域","龙宜角阀","城阳区晶碧卫浴经营部","92370214MA3EARW82E","福建过江龙卫浴有限公司","2022年12月27日/—","J028","/","所检项目符合标准","/","2024-03-12","城阳区","青岛市产品质量检验研究院"]
[13,"流通领域","角阀","李沧区双赢精品五金店","92370213MA3EEUR993","溢鑫水暖有限公司","2023年7月13日/—","WZ-JF-035","—","所检项目符合标准","/","2024-03-27","李沧区","青岛市产品质量检验研究院"]
[14,"流通领域","快开三角阀","即墨市美宜家黑马卫浴店","92370282MA3F2P2WXQ","台州沃勒水暖有限公司","—/—","JF010","—","所检项目符合标准","/","2024-03-28","即墨区","青岛市产品质量检验研究院"]
[15,"流通领域","龙冠角阀","即墨市小林卫浴五金超市","92370282MA3E68DG3A","福建过江龙卫浴有限公司","2023年6月15日/—","J016","—","所检项目符合标准","/","2024-03-28","即墨区","青岛市产品质量检验研究院"]
[16,"流通领域","角阀","青岛恒沁合贸易有限公司","91370212MA3WFQEG47","佛山市恒洁卫浴有限公司","2023-08-16/—","HMA007","—","所检项目符合标准","/","2024-04-02","崂山区","青岛市产品质量检验研究院"]
[17,"流通领域","快开三角阀","黄岛区鸿润通水暖建材店","92370211MA3E36MD47","临海伟星新型建材有限公司","2022-10-29/—","1118-G","—","所检项目符合标准","/","2024-04-02","西海岸新区","青岛市产品质量检验研究院"]
[18,"流通领域","快开单冷角阀","青岛宏泽祺晟建材有限公司","91370211MA3UXQJ87A","九牧厨卫股份有限公司","2022-12-23/—","MXJ4100-004-100-11","—","所检项目符合标准","/","2024-04-02","西海岸新区","青岛市产品质量检验研究院"]
[19,"流通领域","角阀","青岛麓小七贸易有限公司","91370211MA3CEFAT11","泉州市蓝鳄卫浴洁具有限公司","—/—","6057蓝","—","所检项目符合标准","/","2024-04-02","西海岸新区","青岛市产品质量检验研究院"]
[20,"流通领域","角阀","青岛前丰建材有限公司","91370281MA3CERLFXR","常州科勒水龙头有限公司","—/—","12066T","—","所检项目符合标准","/","2024-04-01","胶州市","青岛市产品质量检验研究院"]
[21,"流通领域","三角阀","青岛盛联经典工贸有限公司","91370281077357921C","佛山市法恩洁具有限公司","2023-11-4/—","FS106C-A","—","所检项目符合标准","/","2024-04-01","胶州市","青岛市产品质量检验研究院"]
[22,"流通领域","角阀","胶州市兰青家居建材店","92370281MA3UUTAG7D","广东美泰卫浴有限公司","—/—","2624","—","所检项目符合标准","/","2024-04-01","胶州市","青岛市产品质量检验研究院"]
[23,"流通领域","陶瓷阀芯角阀","李沧区一帆风顺水暖器材经销处","92370213MA3E57R38K","福建金鹭星水暖有限公司","—/—","JLX-3A77","—","所检项目符合标准","/","2024-04-08","李沧区","青岛市产品质量检验研究院"]
[24,"流通领域","三角阀","青岛市城阳区进美之家卫浴商店","92370214MA3E0K9J24","箭牌家居集团股份有限公司","2023-09-12/—","AS02A","ARROW","所检项目符合标准","/","2024-03-13","城阳区","青岛市产品质量检验研究院"]
[25,"流通领域","1023中直铜角阀","城阳区范王琪妙装饰材料店","92370214MA94U3CG68","湖南希箭科技有限公司","—/—","JFTZ-1023R","希箭","所检项目符合标准","/","2024-03-14","城阳区","青岛市产品质量检验研究院"]
[26,"流通领域","陶瓷阀芯角阀","城阳区宝亿佳建材经销处","92370214MA3EFW8135","福建金鹭星水暖有限公司","—/—","JLX-3A70","金鹭星","所检项目符合标准","/","2024-03-14","城阳区","青岛市产品质量检验研究院"]
[27,"流通领域","快开三角阀","青岛汉能商贸有限公司","91370214334183038B","临海伟星新型建材有限公司","2023-11-02/—","1119Y-镀铬-蓝色","/","所检项目符合标准","/","2024-03-14","城阳区","青岛市产品质量检验研究院"]
[28,"流通领域","瓷芯角阀","李沧区皖青永明建材部","92370213MA3ELMDP7A","日丰企业（佛山）有限公司","2022/09/30/—","RF-1094PC","/","所检项目符合标准","/","2024-03-26","李沧区","青岛市产品质量检验研究院"]
[29,"流通领域","角阀","市北区金川发五金店","92370203MA3E2HL57P","溢鑫水暖有限公司","2023年3月2日/—","WZ-TF 030","/","所检项目符合标准","/","2024-03-26","市北区","青岛市产品质量检验研究院"]
[30,"流通领域","角阀","李沧区诚信大通装饰材料商场","92370213MA3DY0EX9F","惠达卫浴股份有限公司","20231201/—","HWJ5002","—","所检项目符合标准","/","2024-04-09","李沧区","青岛市产品质量检验研究院"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}