{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["监督检验报告信息","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":15,"n_cols":14,"rows_kept":15,"merged":[[0,0,0,11],[1,0,1,13],[2,0,2,13],[3,0,3,13]],"flags":["formulas_cached_only"]}
["2024年房间空气调节器产品质量市监督抽查结果"]
["本次抽查了生产领域10家企业10批次。所检项目全部符合标准。\n依据GB 4706.1—2005、GB 4706.32-2012、GB 4343.1-2018、GB 17625.1-2012、GB 21455-2019、GB/T 7725-2004、GB/T 7725-2022等标准，对对触及带电部件的防护，输入功率和电流，工作温度下的泄漏电流和电气强度，耐潮湿，泄漏电流和电气强度，机械强度，结构（不包括22.46条的试验），内部布线，电源连接和外部软线，外部导线用接线端子，接地措施，电气间隙、爬电距离和固体绝缘，额定制冷量，额定制冷消耗功率，额定中间制冷量，额定中间制冷消耗功率，额定制热量，额定制热消耗功率，额定中间制热量，额定中间制热消耗功率，额定低温制热量，额定低温制热消耗功率，能效等级（制冷季节能源消耗效率）或能效等级（全年能源消耗效率），待机功率（额定制冷量≤4500W），端子骚扰电压（连续骚扰），骚扰功率、辐射骚扰，谐波电流等27个项目进行了检验。\n具体抽查结果见附件。"]
["附件"]
["2024年房间空气调节器产品质量市级监督抽查结果汇总表"]
["序号","抽样领域","产品名称","受检单位名称","统一社会信用代码","标称生产者名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","抽样日期","行政区划","承检单位"]
[1,"生产领域","分体式房间空调器","青岛海尔空调器有限总公司","913702122648088392","青岛海尔空调器有限总公司","2024-06-08/—","KFR-50GW/22KEA8101","Haier","所检项目符合标准","/","2024-06-12","崂山区","青岛市产品质量检验研究院"]
[2,"生产领域","低环境温度空气源热泵热风机","鼎信阳光环境技术有限公司","91370283579768421B","鼎信阳光环境技术有限公司","2023-06-30/—","DAC-20GW/DBh-a","/","所检项目符合标准","/","2024-06-28","平度市","青岛市产品质量检验研究院"]
[3,"生产领域","低环境温度空气源热泵热风机","青岛海盎暖通设备有限公司","91370281MA3M0K4F54","青岛海盎暖通设备有限公司","2024-03-21/—","HRF-2P","图形商标","所检项目符合标准","/","2024-06-21","胶州市","青岛市产品质量检验研究院"]
[4,"生产领域","空调机","青岛海信日立空调系统有限公司","913702117439759413","青岛海信日立空调系统有限公司","2024-05-09/—","RAS-112FSLN3Q","HITACHI","所检项目符合标准","/","2024-06-12","西海岸新区","青岛市产品质量检验研究院"]
[5,"生产领域","直流变频风管机","三菱重工海尔（青岛）空调机有限公司","91370212614311559E","三菱重工海尔（青岛）空调机有限公司","室内机2024-05-09、室外机2024-05-13/—","RFUS35WDVA-C1/RFUSC35WDVA-C1","/","所检项目符合标准","/","2024-05-27","即墨区","青岛市产品质量检验研究院"]
[6,"生产领域","通信基站用单元式空调机","青岛海尔空调电子有限公司","91370211713728210Q","青岛海尔空调电子有限公司","2024-06-07/—","KFR-120LW/71FAJ12（通信）","Haier","所检项目符合标准","/","2024-06-21","西海岸新区","青岛市产品质量检验研究院"]
[7,"生产领域","分体挂壁式变频房间空调器","海信空调有限公司","91370283667863672A","海信空调有限公司","2024-05-09/—","KFR-35GW/X600U-X1","Hisense","所检项目符合标准","/","2024-05-23","平度市","青岛市产品质量检验研究院"]
[8,"生产领域","超低温空气能热泵机组","青岛中科能匠科技有限公司","91370282MA3U0692XD","青岛中科能匠科技有限公司","2024-06-24/—","RY-150W/EBP-11","Enerpower","所检项目符合标准","/","2024-07-01","即墨区","青岛市产品质量检验研究院"]
[9,"生产领域","空调机","青岛江森自控空调有限公司","91370211MA3MQBJEXG","青岛江森自控空调有限公司","2024-04-25/—","YCOH040HSEKBQ1","图形商标","所检项目符合标准","/","2024-06-12","西海岸新区","青岛市产品质量检验研究院"]
[10,"生产领域","变频分体热泵型挂壁式房间空气调节器","青岛澳柯玛环境科技有限公司","91370211MA3EX9KR8N","青岛澳柯玛环境科技有限公司","2023-04/—","KFR-35GW/BpB117-FU1","AUCMA","所检项目符合标准","/","2024-06-12","西海岸新区","青岛市产品质量检验研究院"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}