{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["监督检验报告信息","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":55,"n_cols":14,"rows_kept":55,"merged":[[0,0,0,11],[1,0,1,13],[2,0,2,13],[3,0,3,13]],"flags":["formulas_cached_only"]}
["2024年老视成镜产品质量市监督抽查结果"]
["本次抽查了流通领域37家经销单位50批次产品，不合格产品检出率为2%。\n依据GB 13511.1-2011《配装眼镜 第1部分：单光和多焦点》、GB/T 13511.3-2019《配装眼镜 第3部分：单光老视成镜》等标准，对镜片顶焦度，光透射比，光学中心水平偏差，光学中心单侧水平偏差，光学中心垂直互差，两镜片顶焦度互差，装配质量等7个项目进行了检验。\n抽查发现有1家企业的1批次产品不符合相关标准要求，不合格项目为：光学中心单侧水平偏差。我局已依法对不合格产品开始了后处理工作。\n具体抽查结果见附件。\n"]
["附件"]
["2024年老视成镜产品质量市级监督抽查结果汇总表"]
["序号","抽样领域","产品名称","受检单位名称","统一社会信用代码","标称生产者名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","抽样日期","行政区划","承检单位"]
["1","流通领域","807（老视成镜）","城阳区眼视康眼镜店","92370214MA3TQ99A4J","上海肖氏光学眼镜有限公司","—/2020.09","+4.00D OCD=61","九月菊","不合格","光学中心单侧水平偏差","2024-05-13","城阳区","青岛市产品质量检验研究院"]
["2","流通领域","防蓝光老视镜","青岛丹阳眼镜批发有限公司崇阳路分部","91370214MA3DG62U6G","上海超越眼镜有限公司","—/202011999","+2.00D OCD=60mm","哥拓普","所检项目符合标准","/","2024-05-13","城阳区","青岛市产品质量检验研究院"]
["3","流通领域","宝芝林（老视成镜）","青岛现代靓视眼镜有限公司","91370214MA7JC5QH00","镇江医倍健光学眼镜有限公司","—/ZS20231228","+1.50 OCD=62","宝芝林","所检项目符合标准","/","2024-05-13","城阳区","青岛市产品质量检验研究院"]
["4","流通领域","DAWAN大腕老视镜","青岛市市南区高丽亚紫光眼镜店","92370202MA3E47CR3B","镇江星熠光学眼镜有限公司","—/BST20230928","+2.00D OCD=62","/","所检项目符合标准","/","2024-05-16","市南区","青岛市产品质量检验研究院"]
["5","流通领域","尚花老视成镜","青岛市市南区眼饰界眼镜行","92370202MA3DXMXK89","瑞安市精丽眼镜有限公司","2023-09-27/—","+1.50D 瞳距=63mm","/","所检项目符合标准","/","2024-05-16","市南区","青岛市产品质量检验研究院"]
["6","流通领域","老视成镜","青岛万视精益眼镜有限公司","91370213MAC38BNM12","丹阳市开发区舒亮眼镜厂","2022-06/—","D804 +150 OCD 64MM","达美勒","所检项目符合标准","/","2024-05-17","李沧区","青岛市产品质量检验研究院"]
["7","流通领域","DAWAN大腕（老视镜）","城阳区乐视明眼镜店","92370214MA3E1DM06E","镇江星熠光学眼镜有限公司","—/BST20230418","+2.50D OCD=62","/","所检项目符合标准","/","2024-05-17","城阳区","青岛市产品质量检验研究院"]
["8","流通领域","时尚老视镜","青岛世纪视佳技术咨询有限公司","91370202MA94UN417E","镇江市依视力光学眼镜有限公司","—/BC20201228","+3.50D OCD=61","/","所检项目符合标准","/","2024-05-17","李沧区","青岛市产品质量检验研究院"]
["9","流通领域","老视成镜","青岛泽明眼镜有限公司","91370213MA3TUFWM7A","丹阳市开发区舒亮眼镜厂","2022-06/—","+1.50D OCD 62mm","达美勒","所检项目符合标准","/","2024-05-17","李沧区","青岛市产品质量检验研究院"]
["10","流通领域","老视镜","城阳区刘芳芳眼镜店正阳路店","92370214MA3D9HFD1J","丹阳市开发区舒亮眼镜厂","2022-06/—","D803 +4.00 OCD63mm","达美勒","所检项目符合标准","/","2024-06-17","城阳区","青岛市产品质量检验研究院"]
["11","流通领域","老视成镜","李沧区润视明眼镜店","92370213MA3P5ARJ7W","鹰潭万成光学科技有限公司","—/20230301","JX6006 +1.00D OCD=60","夕阳红","所检项目符合标准","/","2024-06-18","李沧区","青岛市产品质量检验研究院"]
["12","流通领域","老视镜","青岛万视康眼镜有限公司城阳东方城分公司","91370214MABRW5E68B","台州市华星光学有限公司","2020-10-19/—","TR90 M802 +2.5 OCD=62mm","夕阳红","所检项目符合标准","/","2024-06-18","城阳区","青岛市产品质量检验研究院"]
["13","流通领域","老视镜","青岛目小悦眼镜有限公司","91370213MA3RNRRK1K","温州崎峰光学有限公司","—/KT20230618","030 +2.00D OCD=63","凯腾","所检项目符合标准","/","2024-06-18","李沧区","青岛市产品质量检验研究院"]
["14","流通领域","老视镜","李沧区润视明眼镜店","92370213MA3P5ARJ7W","温州崎峰光学有限公司","—/QF20230620","032 +3.00D OCD=63mm","崎峰","所检项目符合标准","/","2024-06-18","李沧区","青岛市产品质量检验研究院"]
["15","流通领域","老视镜","青岛万视康眼镜有限公司城阳东方城分公司","91370214MABRW5E68B","临海市祥展眼镜有限公司","—/TX20230528","XZ8247 +1.75D PD：62","贴心","所检项目符合标准","/","2024-06-18","城阳区","青岛市产品质量检验研究院"]
["16","流通领域","年轻态老视镜","青岛万视优眼镜有限公司","91370213MA3RKTC44K","丹阳市星辉眼镜有限公司","—/20201018","+2.50D OCD=63","年轻态","所检项目符合标准","/","2024-06-19","李沧区","青岛市产品质量检验研究院"]
["17","流通领域","老视镜","青岛万视优眼镜有限公司","91370213MA3RKTC44K","江苏汇鼎光学眼镜有限公司","—/210401","OCD：62mm +3.00D","玉品堂","所检项目符合标准","/","2024-06-19","李沧区","青岛市产品质量检验研究院"]
["18","流通领域","成品老花镜","青岛丹阳眼镜批发有限公司威海路分部","91370203MA3CEW2G0H","丹阳市立德眼镜有限公司","—/20240110","LD2008 +2.00D PD=61mm","福满堂","所检项目符合标准","/","2024-06-20","市北区","青岛市产品质量检验研究院"]
["19","流通领域","老视成镜","青岛丹阳眼镜批发有限公司威海路分部","91370203MA3CEW2G0H","温州恒华医疗科技有限公司","—/20230701","RM052 +2.00D OCD=64","图形商标","所检项目符合标准","/","2024-06-20","市北区","青岛市产品质量检验研究院"]
["20","流通领域","老视镜","市北区万邦眼镜店","92370203MACHD5MQ1C","温州崎峰光学有限公司","—/XY20220718","5970 C1 +1.50D OCD=63","夕阳年华","所检项目符合标准","/","2024-06-20","市北区","青岛市产品质量检验研究院"]
["21","流通领域","老视镜","青岛金鑫光视明眼镜有限公司","91370281MAC1Y2YQXW","丹阳市开发区舒亮眼镜厂","2023-06/—","J603 +150 OCD63MM","吉事多","所检项目符合标准","/","2024-06-21","胶州市","青岛市产品质量检验研究院"]
["22","流通领域","老视镜","青岛金鑫光视明眼镜有限公司","91370281MAC1Y2YQXW","丹阳市开发区舒亮眼镜厂","2022-06/—","J602 +200 OCD62MM","吉事多","所检项目符合标准","/","2024-06-21","胶州市","青岛市产品质量检验研究院"]
["23","流通领域","防蓝光老视成镜","青岛新视路眼镜有限公司","91370281MA3MY3J587","丹阳市开发区百年红眼镜厂","2023-11-06/—","BNH2901 +3.00D OCD=62mm","百年红","所检项目符合标准","/","2024-06-21","胶州市","青岛市产品质量检验研究院"]
["24","流通领域","老视镜","青岛新视路眼镜有限公司","91370281MA3MY3J587","瑞安市精丽眼镜有限公司","2021-06-28/—","KQ OLD +3.50D 光学中心水平距离61mm","凯奇老人头","所检项目符合标准","/","2024-06-21","胶州市","青岛市产品质量检验研究院"]
["25","流通领域","书宝老视镜系列","胶州市慧明眼镜店","92370281MA3WJ9J359","临海市永靓眼镜厂","—/20230218","B723 +1.00D OCD=63","图形商标","所检项目符合标准","/","2024-06-21","胶州市","青岛市产品质量检验研究院"]
["26","流通领域","防蓝光老视镜","胶州市大光明眼镜有限公司第六分公司","91370281MA3MNDW4XA","江苏玉尊医用眼镜有限公司","—/—","JSYZ +2.50D PD=62mm","/","所检项目符合标准","/","2024-06-21","胶州市","青岛市产品质量检验研究院"]
["27","流通领域","数码防蓝光老视镜","青岛乐译眼镜有限公司","91370213MA3WL66518","镇江星熠光学眼镜有限公司","—/MHQC20230915","M2202 +1.50D OCD=62","梦回青春","所检项目符合标准","/","2024-06-24","李沧区","青岛市产品质量检验研究院"]
["28","流通领域","老人100老视镜系列","青岛玥然光学有限公司","91370212MA3MXW1738","台州市明博光学眼镜有限公司","—/L0250240308","818 +2.00D OCD=64","老人100","所检项目符合标准","/","2024-06-24","崂山区","青岛市产品质量检验研究院"]
["29","流通领域","老人100老视镜系列","青岛玥然光学有限公司","91370212MA3MXW1738","台州市明博光学眼镜有限公司","—/L0250240308","814 +2.50D OCD=64","老人100","所检项目符合标准","/","2024-06-24","崂山区","青岛市产品质量检验研究院"]
["30","流通领域","老视镜","青岛眼之悦商贸有限公司","91370214MA3C7PLP8B","深圳寸草心眼镜有限公司","—/820200818","CX8013 OCD=63 +1.00D","寸草心","所检项目符合标准","/","2024-06-26","城阳区","青岛市产品质量检验研究院"]
["31","流通领域","轻松阅读镜","青岛快之镜眼镜有限公司","91370203MA3DENNJ5U","江苏图观眼镜有限公司","—/20230608","8822枪C02 OCD=63 +2.00D","吉瑞祥","所检项目符合标准","/","2024-06-26","市北区","青岛市产品质量检验研究院"]
["32","流通领域","健康态老视镜","城阳区同明视眼镜店","92370214MABLUWNG45","镇江医倍健光学眼镜有限公司","—/J20210528","V804 OCD=62 +2.50D","健康态","所检项目符合标准","/","2024-06-26","城阳区","青岛市产品质量检验研究院"]
["33","流通领域","防蓝光老视镜","青岛现代眼镜有限公司","91370282MA3P8HNNXY","镇江医倍健光学眼镜有限公司","—/ZS20231228","ZS6003 +1.50D OCD=62","宝芝林","所检项目符合标准","/","2024-06-28","即墨区","青岛市产品质量检验研究院"]
["34","流通领域","老视眼镜","即墨区龙多宝眼镜店","92370282MAC7EWTC1X","温州瓯海郭溪高光眼镜厂","2023-05-18/—","201 金 +3.50D OCD=65","风华时光","所检项目符合标准","/","2024-06-28","即墨区","青岛市产品质量检验研究院"]
["35","流通领域","老视镜","青岛新视线光学有限公司","91370212MA3F7MKW3P","江苏汇鼎光学眼镜有限公司","—/01A2E","7/2F +1.50D OCD：62mm","岁岁安","所检项目符合标准","/","2024-07-02","崂山区","青岛市产品质量检验研究院"]
["36","流通领域","老视镜","青岛市崂山区美视丽眼镜店","92370212MA3E28QK7W","丹阳市开发区万誉眼镜制造厂","—/2023.03","209 +3.00D OCD=62","博林","所检项目符合标准","/","2024-07-02","崂山区","青岛市产品质量检验研究院"]
["37","流通领域","老视镜","城阳区珍爱视优眼镜店","92370214MA3TFTXD6J","江苏汇鼎光学眼镜有限公司","—/01D2D","BC5014 +3.00D OCD:62mm","玉品堂","所检项目符合标准","/","2024-07-02","城阳区","青岛市产品质量检验研究院"]
["38","流通领域","老视镜","青岛市崂山区美视丽眼镜店","92370212MA3E28QK7W","丹阳市开发区万誉眼镜制造厂","—/2023.10","125 +2.50D OCD=62","博林","所检项目符合标准","/","2024-07-02","崂山区","青岛市产品质量检验研究院"]
["39","流通领域","老视镜","城阳区刘家睛益眼镜店（个体工商户）","92370214MADKGWKR1Q","台州市椒江祥展眼镜厂","—/XF0210201008","TX8102 +1.00D OCD=64","祥福","所检项目符合标准","/","2024-07-02","城阳区","青岛市产品质量检验研究院"]
["40","流通领域","老视镜","城阳区刘家睛益眼镜店（个体工商户）","92370214MADKGWKR1Q","临海市祥展眼镜有限公司","—/XF20220808","XZ8224 +2.00D OCD=62","祥福","所检项目符合标准","/","2024-07-02","城阳区","青岛市产品质量检验研究院"]
["41","流通领域","老视镜","青岛泰瑞特眼镜有限公司","91370214MA3D6YC223","镇江星熠光学眼镜有限公司","—/BST20230418","D304 +4.00D OCD=62","/","所检项目符合标准","/","2024-07-03","城阳区","青岛市产品质量检验研究院"]
["42","流通领域","老视镜","城阳区野视之都眼镜店（个体工商户）","92370214MADHEAM933","台州市凯帝光学眼镜有限公司","—/JFU20201018","C2 +2.50D OCD=62mm","健福优","所检项目符合标准","/","2024-07-03","城阳区","青岛市产品质量检验研究院"]
["43","流通领域","老视成镜（宝芝林）","城阳区野视之都眼镜店（个体工商户）","92370214MADHEAM933","镇江医倍健光学眼镜有限公司","—/ZS20031228","+2.00D OCD=62 V804","/","所检项目符合标准","/","2024-07-03","城阳区","青岛市产品质量检验研究院"]
["44","流通领域","老视镜","青岛博雪眼镜店","91370213MA7DHU7J6D","台州市华星光学有限公司","2023-03-19/—","S805-C2 +3.00D OCD=62mm","月阳红","所检项目符合标准","/","2024-07-03","李沧区","青岛市产品质量检验研究院"]
["45","流通领域","老视镜","青岛博雪眼镜店","91370213MA7DHU7J6D","丹阳市开发区舒亮眼镜厂","2023-06/—","Y704 +3.00D OCD64mm","玉竹","所检项目符合标准","/","2024-07-03","李沧区","青岛市产品质量检验研究院"]
["46","流通领域","老花镜","深圳市乐活电子商务有限公司青岛第一分公司","913702133341579059","深圳市乐尚科技设计有限公司","2022-03-01/01","L1017 +3.00D OCD=62mm","LOHO眼镜生活","所检项目符合标准","/","2024-07-03","李沧区","青岛市产品质量检验研究院"]
["47","流通领域","老视镜","青岛市崂山区眼饰界眼镜行","92370212MA3E56PT51","临海市祥展眼镜有限公司","—/TX20230528","XZ8246 +3.00D PD：62","贴心","所检项目符合标准","/","2024-07-04","崂山区","青岛市产品质量检验研究院"]
["48","流通领域","老视镜","青岛市崂山区眼饰界眼镜行","92370212MA3E56PT51","台州市椒江祥展眼镜厂","—/TX20220218","XZ8225 +2.00D OCD=62","贴心","所检项目符合标准","/","2024-07-04","崂山区","青岛市产品质量检验研究院"]
["49","流通领域","成品老视镜","青岛真视眼镜有限公司","91370282MA3WGX8U5U","丹阳市立德眼镜有限公司","—/20200418","J8801 +2.50D PD=62mm","金婚","所检项目符合标准","/","2024-07-04","即墨区","青岛市产品质量检验研究院"]
["50","流通领域","成品老视镜","青岛真视眼镜有限公司","91370282MA3WGX8U5U","丹阳市立德眼镜有限公司","—/20200418","J8801 +3.50D PD=62mm","金婚","所检项目符合标准","/","2024-07-04","即墨区","青岛市产品质量检验研究院"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}