{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["监督检验报告信息","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息","index":0,"n_rows":10,"n_cols":15,"rows_kept":10,"merged":[[0,0,0,12],[1,0,1,14],[2,0,2,14],[3,0,3,14]],"flags":["formulas_cached_only"]}
["2024年可燃气体探测器产品质量市监督抽查结果"]
["本次抽查了流通领域5家经销单位5批次产品。\n监督抽查不合格产品检出率为0%。\n依据（GB 15322.2-2019《可燃气体探测器第2部分：家用可燃气体探测器》）等标准，对方位试验、电气强度试验、报警动作值试验、高温（运行）试验、绝缘电阻试验、跌落试验  等6个项目进行了检验。\n具体抽查结果见附件。\n"]
["附件"]
["2024年可燃气体探测器产品质量市级监督抽查结果汇总表"]
["序号","产品类别","抽样领域","产品名称","受检单位名称","统一社会信用代码","标称生产者名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","抽样日期","行政区划","承检单位"]
["1","可燃气体探测器","流通领域","家用可燃气体探测器","青岛能源华润燃气有限公司胶州燃气分公司","91370281697177307D","天津费加罗电子有限公司","2023.06.21/-","JT-TF-02","FIGARO","合格","/","2024-08-23","胶州市","山东省产品质量检验研究院"]
["2","可燃气体探测器","流通领域","家用可燃气体探测器","青岛胶州滨海燃气有限公司","91370200727838285N","济南本安科技发展有限公司","2022年6月/-","JT-SSJ01201","本安科技","合格","/","2024-08-23","胶州市","山东省产品质量检验研究院"]
["3","可燃气体探测器","流通领域","家用可燃气体探测器","青岛平度泰能燃气有限公司","913702837180475888","成都安可信电子股份有限公司","2021.11/-","JT-AEC2361a1","安可信","合格","/","2024-08-22","平度市","山东省产品质量检验研究院"]
["4","可燃气体探测器","流通领域","家用可燃气体探测器","青岛能源华润燃气有限公司北部燃气分公司","91370213MADKH3F805","成都安可信电子股份有限公司","2024.06/-","JT-AEC2363A","安可信","合格","/","2024-08-21","李沧区","山东省产品质量检验研究院"]
["5","可燃气体探测器","流通领域","家用可燃气体探测器","青岛新奥新能源有限公司","91370222MA3QPMFE22","成都鑫豪斯电子探测技术有限公司","2024年6月/-","JT-AT2015A","XINHAOSI","合格","/","2024-08-22","西海岸新区","山东省产品质量检验研究院"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}