{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["监督检验报告信息 (2)","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息 (2)","index":0,"n_rows":55,"n_cols":15,"rows_kept":55,"merged":[[0,0,0,14],[1,0,1,14],[2,0,2,14],[3,0,3,14]],"flags":["formulas_cached_only"]}
["2025年老视成镜产品质量市监督抽查结果"]
["    本次抽查流通领域50批次产品。\n    经检验，不合格3批次。对发现的不合格产品，我局已依法开展了后处理工作。具体抽查结果见附件。\n  \n"]
["附件"]
["2025年老视成镜产品质量市级监督抽查结果汇总表"]
["序号","产品类别","抽样领域","产品名称","受检单位名称","统一社会信用代码","标称生产者名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","抽样日期","行政区划","承检单位"]
[1,"老视成镜","流通领域","顺风老视镜","黄岛区吴氏闪亮眼镜店","92370211MA3E8D3L5L","温州市明曼眼镜有限公司","—/SF20241018","+1.50D 瞳距 64mm","顺风","不合格","光学中心水平偏差、光学中心单侧水平偏差、光学中心垂直互差","2025-02-26","西海岸新区","青岛市产品质量检验研究院"]
[2,"老视成镜","流通领域","成品老视镜","市北区明视得眼镜店","92370203MA3D39R748","丹阳市开发区青远眼镜厂","2024-09-03/—","5001 +3.00D OCD=63","老伴","不合格","光学中心水平偏差、光学中心单侧水平偏差","2025-03-11","市北区","青岛市产品质量检验研究院"]
[3,"老视成镜","流通领域","老视镜","青岛鑫悦铭医疗科技有限公司","91370203MABY6G4G08","温州市凯鹏光学眼镜有限公司","—/—","889 +3.00 OCD=63","图形商标","不合格","光学中心水平偏差、光学中心单侧水平偏差","2025-03-13","市北区","青岛市产品质量检验研究院"]
[4,"老视成镜","流通领域","老视成镜","莱西市亨得利眼镜店","92370285MA3E1YQW0F","鹰潭万成光学科技有限公司","—/20211201","AX5335 +2.00D OCD=60","夕阳红","所检项目符合标准",null,"2025-02-17","莱西市","青岛市产品质量检验研究院"]
[5,"老视成镜","流通领域","老视成镜","青岛源峰德眼镜有限公司","91370285MA3R5EHX0K","丹阳市开发区舒亮眼镜厂","2022-06/—","J603 +300 OCD63MM","吉事多","所检项目符合标准",null,"2025-02-17","莱西市","青岛市产品质量检验研究院"]
[6,"老视成镜","流通领域","老视成镜","青岛刘记眼镜有限公司二分店","91370285MA3QJX3RX8","丹阳市开发区万誉眼镜制造厂","—/2023.10","+1.00D OCD=62","博林","所检项目符合标准",null,"2025-02-17","莱西市","青岛市产品质量检验研究院"]
[7,"老视成镜","流通领域","老视成镜","城阳区莱明特眼镜店","92370214MA3URQ9L7W","丹阳市星辉眼镜有限公司","—/20230308","6002 +2.50D OCD=62mm","惜福老视镜","所检项目符合标准",null,"2025-02-19","城阳区","青岛市产品质量检验研究院"]
[8,"老视成镜","流通领域","老视镜","黄岛区新精彩眼镜店","92370211MABLYFFE23","临海市繁华眼镜厂","—/—","8112树 +4.00D OCD=64","古月红","所检项目符合标准",null,"2025-02-20","西海岸新区","青岛市产品质量检验研究院"]
[9,"老视成镜","流通领域","DAWAN大腕（老视成镜）","即墨区吴新春钟表眼镜店","92370282MA3EBJ162P","镇江星熠光学眼镜有限公司","—/DW20230518","D301 +3.00D OCD=62","/","所检项目符合标准",null,"2025-02-24","即墨区","青岛市产品质量检验研究院"]
[10,"老视成镜","流通领域","宝芝林（老视成镜）","青岛现代眼镜有限公司","91370282MA3P8HNNXY","镇江医倍健光学眼镜有限公司","—/ZS20220828","ZS6003 +1.00D OCD=62","/","所检项目符合标准",null,"2025-02-24","即墨区","青岛市产品质量检验研究院"]
[11,"老视成镜","流通领域","老视镜","即墨区眼视界光学眼镜店","92370282MABQG5GT0F","上海舒云眼镜有限公司","—/CDJ20220105","C8802 +3.50D OCD=62","陈大姐","所检项目符合标准",null,"2025-02-24","即墨区","青岛市产品质量检验研究院"]
[12,"老视成镜","流通领域","老视镜","城阳区眼视康眼镜店","92370214MA3TQ99A4J","丹阳市开发区舒亮眼镜厂","2022-10-15/—","E402 +4.00D OCD：61mm","爱勒","所检项目符合标准",null,"2025-02-25","城阳区","青岛市产品质量检验研究院"]
[13,"老视成镜","流通领域","数码防护老视镜","青岛丹阳眼镜批发有限公司崇阳路分部","91370214MA3DG62U6G","柏莱客（深圳）眼镜科技有限公司","2023-08/—","+4.00D OCD 64mm AML501 C1","aimeili","所检项目符合标准",null,"2025-02-25","城阳区","青岛市产品质量检验研究院"]
[14,"老视成镜","流通领域","精彩老视镜","青岛现代靓视眼镜有限公司","91370214MA7JC5QH00","镇江星熠光学眼镜有限公司","—/JC20230518","D304 +4.00D OCD=62","精彩","所检项目符合标准",null,"2025-02-25","城阳区","青岛市产品质量检验研究院"]
[15,"老视成镜","流通领域","防蓝光老视镜","青岛丹阳眼镜批发有限公司崇阳路分部","91370214MA3DG62U6G","上海超越眼镜有限公司","—/202011999","+1.00D OCD=63mm","哥拓普","所检项目符合标准",null,"2025-02-25","城阳区","青岛市产品质量检验研究院"]
[16,"老视成镜","流通领域","防蓝光老视镜","青岛李氏现代眼镜有限公司威海路分公司","91370203MA3CLGLY37","镇江医倍健光学眼镜有限公司","—/ZS20210822","ZS6016 +3.00D OCD=63","/","所检项目符合标准",null,"2025-02-25","市北区","青岛市产品质量检验研究院"]
[17,"老视成镜","流通领域","老视成镜","青岛李氏现代眼镜有限公司威海路分公司","91370203MA3CLGLY37","鹰潭万成光学科技有限公司","—/20241101","AX5315 +2.50D OCD=62","夕阳红","所检项目符合标准",null,"2025-02-25","市北区","青岛市产品质量检验研究院"]
[18,"老视成镜","流通领域","防蓝光老视成镜","青岛星创视线光学有限公司","91370200MA94QG5980","福建世纪紫光光学科技有限公司","—/231232","902 +2.00D OCD=63mm","玻菲轩诺","所检项目符合标准",null,"2025-02-25","市北区","青岛市产品质量检验研究院"]
[19,"老视成镜","流通领域","防蓝光老视成镜","青岛星创视线光学有限公司","91370200MA94QG5980","丹阳市开发区百年红眼镜厂","2023-03-29/—","9005 +1.50D OCD=62mm","百年红","所检项目符合标准",null,"2025-02-25","市北区","青岛市产品质量检验研究院"]
[20,"老视成镜","流通领域","玉竹防蓝光老视镜","青岛悦目眼镜有限公司","91370213MABWRKM677","丹阳市开发区舒亮眼镜厂","2022-06/—","Y703 +1.00D OCD63mm","玉竹","所检项目符合标准",null,"2025-02-25","李沧区","青岛市产品质量检验研究院"]
[21,"老视成镜","流通领域","纤紫鹤老视镜","黄岛区万强眼镜店","92370211MABRC6X89J","温州市凯鸿眼镜有限公司","—/QZH20231018","F009 +3.00D 光学中心距 64mm","纤紫鹤","所检项目符合标准",null,"2025-02-26","西海岸新区","青岛市产品质量检验研究院"]
[22,"老视成镜","流通领域","老视镜","青岛珍视康明眼镜有限公司","91370211MA9551TK6C","温州市丽得光学科技有限公司","—/OJ202406","908 +2.50D PD=62mm","瓯江","所检项目符合标准",null,"2025-02-26","西海岸新区","青岛市产品质量检验研究院"]
[23,"老视成镜","流通领域","老视镜","黄岛区吴氏闪亮眼镜店","92370211MA3E8D3L5L","镇江星熠光学眼镜有限公司","—/20240620","XY309 2.50D OCD=62","艳阳红","所检项目符合标准",null,"2025-02-26","西海岸新区","青岛市产品质量检验研究院"]
[24,"老视成镜","流通领域","老视成镜","青岛市城阳区大华眼镜店","92370214MA3E808H9P","鹰潭万成光学科技有限公司","—/20231201","AX2018 +1.00D OCD=62","夕阳红","所检项目符合标准",null,"2025-02-27","城阳区","青岛市产品质量检验研究院"]
[25,"老视成镜","流通领域","老视成镜","青岛市城阳区宏伟精功眼镜店","92370214MA3E9F1U78","鹰潭万成光学科技有限公司","—/20221101","AX2006 +1.00D OCD=62","夕阳红","所检项目符合标准",null,"2025-02-27","城阳区","青岛市产品质量检验研究院"]
[26,"老视成镜","流通领域","老视成镜","青岛强亨商贸有限公司","91370211MA3FDBCW5X","临海市繁华眼镜厂","2020-06-10/—","8115 +2.00D OCD=63","古月红","所检项目符合标准",null,"2025-02-28","西海岸新区","青岛市产品质量检验研究院"]
[27,"老视成镜","流通领域","老视成镜","青岛佳视明眼镜有限公司世贸店分公司","91370211MA3R805N04","丹阳市星辉眼镜有限公司","—/20240330","N708 +4.00D OCD=63","年轻态","所检项目符合标准",null,"2025-02-28","西海岸新区","青岛市产品质量检验研究院"]
[28,"老视成镜","流通领域","老视镜","城阳区珍爱视优眼镜店","92370214MA3TFTXD6J","江苏汇鼎光学眼镜有限公司","—/200401","5036 +1.50D OCD：62mm","玉品堂","所检项目符合标准",null,"2025-03-03","城阳区","青岛市产品质量检验研究院"]
[29,"老视成镜","流通领域","老视镜","城阳区光学欧米眼镜店","92370214MA3EGD008H","台州市华星光学有限公司","—/2022.09.12","+1.50D OCD=62mm","奥尚","所检项目符合标准",null,"2025-03-03","城阳区","青岛市产品质量检验研究院"]
[30,"老视成镜","流通领域","老视镜","青岛万视康眼镜有限公司城阳东方城分公司","91370214MABRW5E68B","临海市祥展眼镜有限公司","—/—","TX8102 +2.50D OCD=64mm","贴心","所检项目符合标准",null,"2025-03-03","城阳区","青岛市产品质量检验研究院"]
[31,"老视成镜","流通领域","老视镜","青岛市崂山区美视丽眼镜店","92370212MA3E28QK7W","丹阳市开发区万誉眼镜制造厂","—/2024.07","+1.50D OCD=62","博林","所检项目符合标准",null,"2025-03-04","崂山区","青岛市产品质量检验研究院"]
[32,"老视成镜","流通领域","老视镜","胶州市大光明眼镜有限公司第一分公司","913702816678612047","丹阳市星辉眼镜有限公司","—/20240318","N510 +1.50D OCD=61mm","年轻态","所检项目符合标准",null,"2025-03-04","胶州市","青岛市产品质量检验研究院"]
[33,"老视成镜","流通领域","老视镜","胶州市星光眼镜行","92370281MA3E28CM4F","临海市祥展眼镜有限公司","—/TX20230528","8106 +2.50D OCD=62","贴心","所检项目符合标准",null,"2025-03-04","胶州市","青岛市产品质量检验研究院"]
[34,"老视成镜","流通领域","防蓝光老视镜","青岛李氏现代眼镜有限公司","91370214MA3C2JGAXD","丹阳美康光学眼镜有限公司","—/—","6013 +1.00 OCD=63mm","/","所检项目符合标准",null,"2025-03-06","城阳区","青岛市产品质量检验研究院"]
[35,"老视成镜","流通领域","老视镜","城阳区金氏精益眼镜时尚店","92370214MA3U800T09","江苏梦工厂眼镜有限公司","—/—","B599C02 +2.00D PD61mm","肖邦","所检项目符合标准",null,"2025-03-06","城阳区","青岛市产品质量检验研究院"]
[36,"老视成镜","流通领域","防蓝光老视镜","青岛李氏现代眼镜有限公司","91370214MA3C2JGAXD","镇江医倍健光学眼镜有限公司","—/—","6019 +3.50 OCD=64mm","/","所检项目符合标准",null,"2025-03-06","城阳区","青岛市产品质量检验研究院"]
[37,"老视成镜","流通领域","纤紫鹤防蓝光老视镜","青岛佳美眼镜有限公司","91370283MA3DHM1M3D","温州市凯鸿眼镜有限公司","—/QZH20230405","F005 +2.50D 光学中心距63mm","纤紫鹤","所检项目符合标准",null,"2025-03-07","平度市","青岛市产品质量检验研究院"]
[38,"老视成镜","流通领域","老视镜","青岛宜大佳商贸有限公司","91370212MA3NUCLX3A","广州吉昌眼镜有限公司","—/20231015","+2.00D PD：67mm","康长青","所检项目符合标准",null,"2025-03-10","崂山区","青岛市产品质量检验研究院"]
[39,"老视成镜","流通领域","老花防蓝光镜","深圳市乐活电子商务有限公司青岛第五分公司","91370212MA3PPQ600X","深圳市乐尚科技设计有限公司","2023-02-01/01","LH26001-200 +2.00D OCD：62mm","LOHO眼镜生活","所检项目符合标准",null,"2025-03-10","崂山区","青岛市产品质量检验研究院"]
[40,"老视成镜","流通领域","防蓝光老视成镜","青岛星创光学有限公司","91370212MA3CJ5B86Q","丹阳市开发区百年红眼镜厂","2021-11-13/—","9005 +2.00D OCD=62mm","百年红","所检项目符合标准",null,"2025-03-10","崂山区","青岛市产品质量检验研究院"]
[41,"老视成镜","流通领域","老视成镜","青岛苏黎世家眼镜有限公司灵山卫分公司","91370211MA9424RP5K","温州市思拓者光学有限公司","—/DS2023.03.10","132 +3.00D 瞳距63","导视","所检项目符合标准",null,"2025-03-10","西海岸新区","青岛市产品质量检验研究院"]
[42,"老视成镜","流通领域","老视镜","黄岛区镜客眼镜店（个体工商户）","92370211MADQB2WG4T","江苏汇鼎光学眼镜有限公司","—/01A2E","5002 +3.00D OCD：62mm","玉品堂","所检项目符合标准",null,"2025-03-10","西海岸新区","青岛市产品质量检验研究院"]
[43,"老视成镜","流通领域","老视镜","黄岛区镜客眼镜店（个体工商户）","92370211MADQB2WG4T","江苏汇鼎光学眼镜有限公司","—/01G2E","1007F +4.00D OCD：62mm","玉品堂","所检项目符合标准",null,"2025-03-10","西海岸新区","青岛市产品质量检验研究院"]
[44,"老视成镜","流通领域","老视镜","青岛亨得利有限公司第三连锁店","91370213713757353Q","江阴市眼镜厂","2020-09-10/—","+1.00D 光学中心水平距离60mm 3010","方圆","所检项目符合标准",null,"2025-03-11","李沧区","青岛市产品质量检验研究院"]
[45,"老视成镜","流通领域","2.0老花镜","青岛永旺东泰商业有限公司","9137020061434422XQ","广州市品尚品家庭用品有限公司","—/—","PSP4053 +2.00 OCD=63","/","所检项目符合标准",null,"2025-03-11","市南区","青岛市产品质量检验研究院"]
[46,"老视成镜","流通领域","防蓝光老视成镜","青岛亨得利有限公司第三连锁店","91370213713757353Q","丹阳市开发区百年红眼镜厂","—/—","+2.50D OCD=61 6131","百年红","所检项目符合标准",null,"2025-03-11","李沧区","青岛市产品质量检验研究院"]
[47,"老视成镜","流通领域","3.0老花镜","青岛永旺东泰商业有限公司","9137020061434422XQ","广州市品尚品家庭用品有限公司","—/—","PSP4055 +3.00 OCD=63","/","所检项目符合标准",null,"2025-03-11","市南区","青岛市产品质量检验研究院"]
[48,"老视成镜","流通领域","老视镜","青岛博一阳眼镜店（个人独资）","91370214MADAR59D48","浙江誉博眼镜有限公司","—/JC20230718","+150 OCD=63mm DW8011","精彩","所检项目符合标准",null,"2025-03-11","城阳区","青岛市产品质量检验研究院"]
[49,"老视成镜","流通领域","老视镜","青岛鑫悦铭医疗科技有限公司","91370203MABY6G4G08","温州市凯鹏光学眼镜有限公司","—/—","888 +2.50 OCD=62","图形商标","所检项目符合标准",null,"2025-03-13","市北区","青岛市产品质量检验研究院"]
[50,"老视成镜","流通领域","珍诚老视镜","李沧区刘氏茂昌眼镜店","92370213MA3EE0YU3C","瑞安市常青光学眼镜有限公司","—/20190908","CQ 7069 +1.50D 63mm","珍诚","所检项目符合标准",null,"2025-03-13","李沧区","青岛市产品质量检验研究院"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}