{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["监督检验报告信息 (2)","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息 (2)","index":0,"n_rows":20,"n_cols":14,"rows_kept":20,"merged":[[0,0,0,13],[1,0,1,13],[2,0,2,13],[3,0,3,13]],"flags":["formulas_cached_only"]}
["2025年电风扇产品质量市监督抽查结果"]
["    本次抽查15批次产品。其中，生产领域10批次，流通领域5批次。\n    经检验，未发现不合格项目。具体抽查结果见附件。\n"]
["附件"]
["2025年电风扇产品质量市级监督抽查结果汇总表"]
["序号","抽样领域","产品名称","受检单位名称","统一社会信用代码","标称生产者名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","抽样日期","行政区划","承检单位"]
["1","生产领域","吊顶新风机","青岛海尔空调器有限总公司","913702122648088392","/","2025-05/—","HDX-25QVA-P","Haier","所检项目符合标准","/","2025-05-30","崂山区","青岛市产品质量检验研究院"]
["2","生产领域","恒温新风机","三菱重工海尔（青岛）空调机有限公司","91370212614311559E","/","2025-04-02/—","SAF260PMD","/","所检项目符合标准","/","2025-04-16","即墨区","青岛市产品质量检验研究院"]
["3","生产领域","新风换气机（全热交换器）","青岛江森自控空调有限公司","91370211MA3MQBJEXG","/","2025-04-08/—","YDTH025H0NBGQF","图形商标","所检项目符合标准","/","2025-04-24","西海岸新区","青岛市产品质量检验研究院"]
["4","生产领域","新风换气机（全热交换器）","青岛海信日立空调系统有限公司","913702117439759413","/","2025-01-23/—","KPI-2525Q3/F","HITACHI","所检项目符合标准","/","2025-04-24","西海岸新区","青岛市产品质量检验研究院"]
["5","流通领域","空气循环扇","青岛春阳大润发商业有限公司","91370214717867795B","浙江绍兴苏泊尔家居用品有限公司","检样：2024-04-12/—、备样：2025-03-18/—","FC-104B-18","/","所检项目符合标准","/","2025-05-15","城阳区","青岛市产品质量检验研究院"]
["6","生产领域","凉风扇","青岛极家云智能科技有限公司","91370222MA3N4CUJ47","/","2025-03-26/—","PL7","Haier","所检项目符合标准","/","2025-04-07","城阳区","青岛市产品质量检验研究院"]
["7","生产领域","换气扇（通风扇）","青岛万豪电器有限公司","91370203MA3CH24X7B","/","2025-04-07/—","H-114","/","所检项目符合标准","/","2025-04-08","李沧区","青岛市产品质量检验研究院"]
["8","流通领域","遥控落地扇","青岛苏宁易购商贸有限公司书院路店","91370213MADH8J4G89","艾美特电器（九江）有限公司","2023-04-30/—","FS40-R55","—","所检项目符合标准","/","2025-05-13","李沧区","青岛市产品质量检验研究院"]
["9","生产领域","换气扇（通风扇）","青岛欧泊尔电器有限公司","91370213396051946B","/","2025-04-03/—","OBR-6-10","/","所检项目符合标准","/","2025-04-08","李沧区","青岛市产品质量检验研究院"]
["10","流通领域","电风扇","青岛宇恒电器有限公司利群李沧店","91370213MA3MH7PU96","广东美的环境电器制造有限公司","检样：2024-01-25/—、备样：2023-12-21/—","FSA40UE","Midea","所检项目符合标准","/","2025-05-13","李沧区","青岛市产品质量检验研究院"]
["11","生产领域","米家智能浴霸S1","青岛易来智能科技股份有限公司","91370212057257480E","/","2024-11/—","MJYB03YL","图形商标","所检项目符合标准","/","2025-04-07","崂山区","青岛市产品质量检验研究院"]
["12","流通领域","空气循环扇","青岛宇恒电器有限公司利群李沧店","91370213MA3MH7PU96","广东美的环境电器制造有限公司","检样：2025-03-13、2025-03-15/—、备样：2025-03-15/—","FGA25SXV","Midea","所检项目符合标准","/","2025-05-13","李沧区","青岛市产品质量检验研究院"]
["13","生产领域","空气循环扇","青岛海尔智慧生活电器有限公司","913702122648092762","/","2025-01-18/—","XHY1810","Haier","所检项目符合标准","/","2025-04-07","崂山区","青岛市产品质量检验研究院"]
["14","流通领域","循环扇","青岛苏宁易购商贸有限公司书院路店","91370213MADH8J4G89","珠海格力电器股份有限公司","—/48809620","FXD-19S62Bag3","/","所检项目符合标准","/","2025-05-13","李沧区","青岛市产品质量检验研究院"]
["15","生产领域","空气循环扇","青岛澳柯玛生活电器有限公司","9137021158782725XJ","/","2020-03/—","KYT-15R907","AUCMA","所检项目符合标准","/","2025-03-12","西海岸新区","青岛市产品质量检验研究院"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}