{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["监督检验报告信息 (2)","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息 (2)","index":0,"n_rows":12,"n_cols":14,"rows_kept":12,"merged":[[0,0,0,13],[1,0,1,13],[2,0,2,13],[3,0,3,13]],"flags":["formulas_cached_only"]}
["2025年防火门产品质量市监督抽查结果"]
["    本次抽查生产领域7批次产品。\n    经检验，未发现不合格项目。具体抽查结果见附件。\n"]
["附件"]
["2025年防火门产品质量市级监督抽查结果汇总表"]
["序号","抽样领域","产品名称","受检单位名称","统一社会信用代码","标称生产者名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","抽样日期","行政区划","承检单位"]
["1","生产领域","木质隔热防火门","青岛琴和特种门窗有限公司","9137020026458904XL","/","2025-05-07/—","MFM-0921-d5A0.50(丙级)-1","/","所检项目符合标准","/","2025-05-08","市北区","青岛市产品质量检验研究院"]
[2,"生产领域","钢木质隔热防火门","青岛牧城门业集团有限公司","91370281733498387A","/","2025-03/—","GMFM-1023-dk5A1.00(乙级)-1-III","牧城","所检项目符合标准","/","2025-04-25","胶州市","青岛市产品质量检验研究院"]
[3,"生产领域","钢木质隔热防火门","青岛牧城门业集团有限公司","91370281733498387A","/","2025-03/—","GMFM-1021-dk5A0.50(丙级)-1-VI","牧城","所检项目符合标准","/","2025-04-25","胶州市","青岛市产品质量检验研究院"]
[4,"生产领域","钢质隔热防火门","青岛茳森门窗科技有限公司","91370285MA3UQKET22","/","2025-03/—","GFM-1225-bdk5A1.00(乙级)-1","/","所检项目符合标准","/","2025-04-25","莱西市","青岛市产品质量检验研究院"]
[5,"生产领域","钢质隔热防火门","青岛茳森工程有限公司","9137021376029438XG","/","2025-02/—","GFM-1023-dk5A0.50(丙级)-1","/","所检项目符合标准","/","2025-04-25","李沧区","青岛市产品质量检验研究院"]
[6,"生产领域","钢质隔热防火门","青岛茳森工程有限公司","9137021376029438XG","/","2025-02/—","GFM-1220-dk5A0.50(丙级)-2","/","所检项目符合标准","/","2025-04-25","李沧区","青岛市产品质量检验研究院"]
[7,"生产领域","钢质隔热防火门","青岛临港门业有限公司","913702113960550152","/","2025-03-10/—","GFM-1121-dk5A0.50(丙级)-1","/","所检项目符合标准","/","2025-03-25","西海岸新区","青岛市产品质量检验研究院"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}