{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["监督检验报告信息 (2)","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息 (2)","index":0,"n_rows":10,"n_cols":14,"rows_kept":10,"merged":[[0,0,0,13],[1,0,1,13],[2,0,2,13],[3,0,3,13]],"flags":["formulas_cached_only"]}
["2025年高压成套开关设备产品质量市监督抽查结果"]
["    本次抽查生产领域5批次产品。\n    经检验，未发现不合格项目。具体抽查结果见附件。\n"]
["附件"]
["2025年高压成套开关设备产品质量市级监督抽查结果汇总表"]
["序号","抽样领域","产品名称","受检单位名称","统一社会信用代码","标称生产者名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","抽样日期","行政区划","承检单位"]
["1","生产领域","交流金属铠装移开式开关设备","青岛科远电气工程有限公司","91370212MA3C9KM74R","/","2025.4/KY25040601","KYN28-12/630","/","所检项目符合标准","/","2025-04-23","崂山区","青岛市产品质量检验研究院"]
["2","生产领域","交流金属封闭开关设备","青岛益和电气集团股份有限公司","913702002646303720","/","2024.11/230700643","KYN28A-12/1250","/","所检项目符合标准","/","2025-05-07","西海岸新区","青岛市产品质量检验研究院"]
["3","生产领域","高压成套开关设备","青岛亿友电器成套股份有限公司","91370200264779118K","/","2025年3月/—","KYN28-12/630","/","所检项目符合标准","/","2025-05-13","崂山区","青岛市产品质量检验研究院"]
["4","生产领域","金属铠装中置式开关柜","青岛华通电力工程有限公司","91370211753783687Y","/","—/—","KYN28-12/630","/","所检项目符合标准","/","2025-05-12","西海岸新区","青岛市产品质量检验研究院"]
["5","生产领域","铠装移开式交流金属封闭开关设备","青岛正世仁和电气安装有限公司","91370211760252454B","/","2025年4月/2504125","KYN28(A)630","/","所检项目符合标准","/","2025-05-19","西海岸新区","青岛市产品质量检验研究院"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}