{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["监督检验报告信息 (2)","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息 (2)","index":0,"n_rows":10,"n_cols":14,"rows_kept":10,"merged":[[0,0,0,13],[1,0,1,13],[2,0,2,13],[3,0,3,13]],"flags":["formulas_cached_only"]}
["2025年电线电缆产品质量市监督抽查结果"]
["    本次抽查电商领域5批次产品。\n    经检验，不合格1批次。对发现的不合格产品，我局已依法开展了后处理工作。具体抽查结果见附件。\n  \n"]
["附件"]
["2025年电线电缆产品质量市级监督抽查结果汇总表"]
["序号","抽样领域","产品名称","受检单位名称","统一社会信用代码","标称生产者名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","抽样日期","行政区划","承检单位"]
["1","电商领域","聚氯乙烯绝缘阻燃软电线（铜芯聚氯乙烯绝缘绞型连接用阻燃C类软电线）","李沧区腾旺达五金建材商行","92370213MABP45FA22","阳谷泽辉线缆有限公司","2024.04/—","ZC-RVS 300/300V 2×0.75","—","不合格","导体电阻、绝缘老化前抗张强度","2025-05-08","李沧区","青岛市产品质量检验研究院"]
["2","电商领域","聚氯乙烯绝缘聚氯乙烯护套阻燃C类软电缆（普通聚氯乙烯护套阻燃C类软线）","李沧区众合志成五金批发部","92370213MACYN35A7X","浙江元通线缆制造有限公司","2024年5月22日/—","ZC-RVV 300/500V 2×0.75","—","所检项目符合标准","—","2025-05-08","李沧区","青岛市产品质量检验研究院"]
["3","电商领域","聚氯乙烯绝缘无护套阻燃C类电线电缆（一般用途单芯硬导体无护套阻燃C类电缆）","青岛长城电力集团有限公司","913702826645051246","青岛长城电力集团有限公司","2025/4/30 D/—","ZC(ZR)-BV 450/750V 1×2.5（ZC-BV 450/750V 1×2.5）","—","所检项目符合标准","—","2025-04-30","即墨区","青岛市产品质量检验研究院"]
["4","电商领域","铜芯聚氯乙烯绝缘聚氯乙烯护套扁形电缆","市北区鸿辉鑫盛五金机电批发部","92370203MA3MWHMQ69","青岛汉缆股份有限公司","—/—","BVVB 300/500V 2×1.5","—","所检项目符合标准","—","2025-04-30","市北区","青岛市产品质量检验研究院"]
["5","电商领域","聚氯乙烯绝缘软电缆电线（铜芯聚氯乙烯绝缘绞型连接用软电线）","博兴县世悦电线电缆有限公司","91371625MA3M4N5K27","青岛常安电线电缆有限公司","—/—","RVS 300/300V 2×1.5","—","所检项目符合标准","—","2025-04-30","博兴县","青岛市产品质量检验研究院"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}